## Sheet1
Date: | 2020-09-17
Analyst: | Dr Henrietta Cathey, RO-EPMA
Instrument: | JEOL JXA 8530F FE-EPMA
Technique: | WDS - spot analysis, BSE imaging
Facility: | Central Analytical Research Facility
Institute for Future Environments
Queensland University of Technology
Analytical conditions: | Accelerating voltage 15kV, beam current 10nA, defocused beam 15 mm, Takeoff angle 40 deg
Standards: | ASTIMEX: plagioclase (Al), hematite (Fe), albite (Na), tugtupite (Cl); rhodonite (Mn); NBS: K411 (Mg); In-house: Lipari glass (Si); Durango Apatite (Ca, P); Celestite (Sr La, S); Fluorite (F); barite (Ba La)
Notes: | Oxygen calculated by cation stoichiometry and included in matrix correction. Oxygen equivalent from halogens (F/Cl) was subtracted in the matrix correction
H and C concentrations are assumed based on empirical formula Ca5(PO4)2.5(CO3)0.5(OH) (ref. http://webmineral.com/data/Carbonate-hydroxylapatite.shtml#.X2KvZ0kRWUo)
bd = below detection
Analysed element below detection: | Si, Fe, Sr, Ba, Mn
NOTE to all CARF users: | • Research undertaken in part or in full utilising CARF instrumentation or other facilities should carry the acknowledgement:
“(Some of) The data reported in this paper were obtained at the Central Analytical Research Facility operated by the Institute for Future Environments (QUT)….”
• Where a researcher is a member of SEF the following should also be added:
“…Access to CARF is supported by generous funding from the Science and Engineering Faculty (QUT).”
SAMPLE | NUMBER | Analysis # | Al | Mg | Ca | Na | P | S | F | Cl | O | H | C | TOTAL | Al2O3 | MgO | CaO | Na2O | P2O5 | SO3 | F | Cl | O | H2O | CO2 | TOTAL | Si CDL99 | Al CDL99 | Fe CDL99 | Mn CDL99 | Mg CDL99 | Ca CDL99 | Sr CDL99 | Ba CDL99 | Na CDL99 | P CDL99 | S CDL99 | F CDL99 | Cl CDL99 | Al %ERR | Mg %ERR | Ca %ERR | Na %ERR | P %ERR | S %ERR | F %ERR | Cl %ERR
Longitudinal_enamel-rim-10pts | 25 | 541 | bd | 0.10856 | 36.6738 | 0.43613 | 17.5766 | 0.019962 | 0.038557 | 0.6505 | 42.3784 | 0.21 | 1.24 | 99.3325 | bd | 0.18002 | 51.3141 | 0.5879 | 40.2751 | 0.049845 | 0.038557 | 0.6505 | -0.16303 | 1.8767 | 4.5436 | 99.3533 | 0.017195 | 0.01407 | 0.034432 | 0.032881 | 0.017501 | 0.0173 | 0.059423 | 0.058633 | 0.040478 | 0.022411 | 0.011171 | 0.030655 | 0.010237 | – | 9.9082 | 0.31089 | 8.1913 | 0.82293 | 30.1953 | 38.4012 | 2.3341
Longitudinal_enamel-rim-10pts | 25 | 542 | 0.014847 | 0.11012 | 36.8383 | 0.39728 | 17.2987 | bd | 0.0543 | 0.66045 | 42.0872 | 0.21 | 1.24 | 98.9462 | 0.028054 | 0.18261 | 51.5442 | 0.53553 | 39.6383 | bd | 0.0543 | 0.66045 | -0.1719 | 1.8767 | 4.5436 | 98.9371 | 0.016755 | 0.013387 | 0.035916 | 0.031193 | 0.018329 | 0.016951 | 0.064676 | 0.057235 | 0.049701 | 0.022676 | 0.012908 | 0.029994 | 0.011107 | 44.6662 | 10.0718 | 0.31002 | 9.3539 | 0.82958 | – | 26.9769 | 2.3335
Longitudinal_enamel-rim-10pts | 25 | 543 | bd | 0.11478 | 37.0874 | 0.48851 | 17.649 | 0.015228 | 0.056483 | 0.69476 | 42.6775 | 0.21 | 1.24 | 100.2337 | bd | 0.19033 | 51.8928 | 0.65851 | 40.4409 | 0.038024 | 0.056483 | 0.69476 | -0.18056 | 1.8767 | 4.5436 | 100.2116 | 0.016208 | 0.013688 | 0.03575 | 0.030972 | 0.016739 | 0.01715 | 0.061811 | 0.058296 | 0.044386 | 0.02374 | 0.01072 | 0.029555 | 0.011532 | – | 9.2501 | 0.30926 | 7.824 | 0.82202 | 37.2058 | 25.6166 | 2.2806
Longitudinal_enamel-rim-10pts | 25 | 544 | bd | 0.12151 | 36.9182 | 0.42954 | 17.4174 | bd | bd | 0.6518 | 42.3002 | 0.21 | 1.24 | 99.2887 | bd | 0.2015 | 51.656 | 0.57901 | 39.9103 | bd | bd | 0.6518 | -0.15671 | 1.8767 | 4.5436 | 99.2622 | 0.016634 | 0.013155 | 0.034927 | 0.032089 | 0.01629 | 0.016734 | 0.060817 | 0.051864 | 0.050163 | 0.024678 | 0.012329 | 0.030366 | 0.010283 | – | 8.728 | 0.31016 | 8.8987 | 0.82845 | – | – | 2.3346
Longitudinal_enamel-rim-10pts | 25 | 545 | 0.025262 | 0.11983 | 37.0159 | 0.51253 | 17.5104 | bd | 0.038366 | 0.58082 | 42.502 | 0.21 | 1.24 | 99.7551 | 0.047733 | 0.19872 | 51.7927 | 0.69088 | 40.1235 | bd | 0.038366 | 0.58082 | -0.14721 | 1.8767 | 4.5436 | 99.7458 | 0.016305 | 0.013178 | 0.035067 | 0.03377 | 0.017614 | 0.016744 | 0.059422 | 0.055308 | 0.05136 | 0.022727 | 0.011387 | 0.029828 | 0.011409 | 26.7531 | 9.2055 | 0.30968 | 7.9511 | 0.82569 | – | 37.5993 | 2.5203
Longitudinal_enamel-rim-10pts | 25 | 546 | bd | 0.15081 | 36.8141 | 0.51445 | 17.4341 | bd | 0.053881 | 0.57947 | 42.3213 | 0.21 | 1.24 | 99.3181 | bd | 0.25008 | 51.5104 | 0.69347 | 39.9486 | bd | 0.053881 | 0.57947 | -0.15345 | 1.8767 | 4.5436 | 99.3028 | 0.016586 | 0.013221 | 0.034816 | 0.033666 | 0.016275 | 0.0173 | 0.064662 | 0.059873 | 0.041914 | 0.020854 | 0.011519 | 0.029549 | 0.01062 | – | 7.4187 | 0.31042 | 7.4471 | 0.82664 | – | 26.8041 | 2.4995
Longitudinal_enamel-rim-10pts | 25 | 547 | 0.015138 | 0.1274 | 36.9407 | 0.44136 | 17.7826 | bd | 0.034733 | 0.6082 | 42.7582 | 0.21 | 1.24 | 100.1583 | 0.028604 | 0.21127 | 51.6876 | 0.59495 | 40.7472 | bd | 0.034733 | 0.6082 | -0.15187 | 1.8767 | 4.5436 | 100.181 | 0.016677 | 0.012755 | 0.035875 | 0.033075 | 0.018189 | 0.01696 | 0.064165 | 0.058559 | 0.050841 | 0.025576 | 0.012108 | 0.03018 | 0.011654 | 41.9845 | 8.9332 | 0.3101 | 8.7732 | 0.81965 | – | 41.9009 | 2.4632
Longitudinal_enamel-rim-10pts | 25 | 548 | 0.019618 | 0.11965 | 37.0102 | 0.38299 | 17.5955 | bd | 0.049369 | 0.62912 | 42.5322 | 0.21 | 1.24 | 99.7886 | 0.037067 | 0.19842 | 51.7847 | 0.51627 | 40.3185 | bd | 0.049369 | 0.62912 | -0.16276 | 1.8767 | 4.5436 | 99.791 | 0.016318 | 0.012973 | 0.036662 | 0.035297 | 0.017633 | 0.017526 | 0.060908 | 0.060491 | 0.050462 | 0.024334 | 0.01191 | 0.029773 | 0.010715 | 33.3868 | 9.2203 | 0.30979 | 9.6614 | 0.82379 | – | 29.3772 | 2.3912
Longitudinal_enamel-rim-10pts | 25 | 549 | bd | 0.13949 | 36.7309 | 0.51135 | 17.5869 | bd | bd | 0.60791 | 42.4545 | 0.21 | 1.24 | 99.481 | bd | 0.23132 | 51.3939 | 0.68929 | 40.2986 | bd | bd | 0.60791 | -0.14637 | 1.8767 | 4.5436 | 99.495 | 0.016821 | 0.013594 | 0.03256 | 0.03126 | 0.017091 | 0.016351 | 0.059157 | 0.054418 | 0.049008 | 0.023848 | 0.012903 | 0.030218 | 0.010971 | – | 8.057 | 0.31091 | 7.8364 | 0.82413 | – | – | 2.4448
Longitudinal_enamel-rim-10pts | 25 | 550 | 0.016513 | 0.14295 | 36.777 | 0.46592 | 17.3806 | bd | bd | 0.59836 | 42.2591 | 0.21 | 1.24 | 99.0904 | 0.031201 | 0.23706 | 51.4585 | 0.62805 | 39.8259 | bd | bd | 0.59836 | -0.13256 | 1.8767 | 4.5436 | 99.0668 | 0.016061 | 0.012988 | 0.034694 | 0.033306 | 0.017244 | 0.016598 | 0.059796 | 0.059624 | 0.049935 | 0.021701 | 0.012029 | 0.030758 | 0.01032 | 39.3002 | 7.9421 | 0.3105 | 8.3948 | 0.8281 | – | – | 2.447
Average |  |  | 0.018276 | 0.12551 | 36.8806 | 0.45801 | 17.5232 | 0.017595 | 0.046527 | 0.62614 | 42.4271 | 0.21 | 1.24 | 99.5393 | 0.034532 | 0.20813 | 51.6035 | 0.61738 | 40.1527 | 0.043935 | 0.046527 | 0.62614 | -0.15664 | 1.8767 | 4.5436 | 99.5347 | [19 empty] | 32.3823
St Dev |  |  | 0.0043393 | 0.014396 | 0.13541 | 0.048163 | 0.14348 | 0.0033474 | 0.0090455 | 0.037719 | 0.20088 | 2.9257e-17 | 0 | 0.43271 | 0.008199 | 0.023873 | 0.18946 | 0.064924 | 0.32879 | 0.0083587 | 0.0090455 | 0.037719 | 0.013705 | 2.3406e-16 | 9.3622e-16 | 0.43775 | [19 empty] | 6.6981
Longitudinal_enamel traverse | 19 | 323 | bd | 0.1899 | 36.3882 | 0.51395 | 17.4265 | bd | 0.033745 | 0.45091 | 42.1866 | 0.21 | 1.24 | 98.6398 | bd | 0.31492 | 50.9145 | 0.69279 | 39.9313 | bd | 0.033745 | 0.45091 | -0.11596 | 1.8767 | 4.5436 | 98.6425 | 0.017394 | 0.013527 | 0.035158 | 0.030869 | 0.017618 | 0.016897 | 0.065709 | 0.053653 | 0.051671 | 0.023265 | 0.01277 | 0.029553 | 0.011157 | – | 6.5073 | 0.31257 | 7.9571 | 0.82851 | – | 42.2434 | 2.9072
Longitudinal_enamel traverse | 19 | 324 | 0.016334 | 0.24304 | 36.485 | 0.61434 | 17.241 | bd | bd | 0.36678 | 42.1107 | 0.21 | 1.24 | 98.5272 | 0.030862 | 0.40304 | 51.0498 | 0.82812 | 39.506 | bd | bd | 0.36678 | -0.07795 | 1.8767 | 4.5436 | 98.527 | 0.016081 | 0.013168 | 0.035784 | 0.032174 | 0.017676 | 0.01684 | 0.060191 | 0.057434 | 0.051281 | 0.022113 | 0.0117 | 0.030621 | 0.010327 | 40.2075 | 5.4687 | 0.31213 | 7.0457 | 0.83303 | – | – | 3.2368
Longitudinal_enamel traverse | 19 | 325 | bd | 0.27675 | 36.5425 | 0.594 | 17.0752 | bd | 0.030229 | 0.33275 | 41.9468 | 0.21 | 1.24 | 98.2482 | bd | 0.45894 | 51.1303 | 0.8007 | 39.1262 | bd | 0.030229 | 0.33275 | -0.08782 | 1.8767 | 4.5436 | 98.2116 | 0.01616 | 0.013755 | 0.033091 | 0.033213 | 0.016522 | 0.017154 | 0.050649 | 0.058425 | 0.051958 | 0.023153 | 0.011885 | 0.029451 | 0.011204 | – | 4.8853 | 0.31188 | 7.2354 | 0.83762 | – | 46.8913 | 3.482
Longitudinal_enamel traverse | 19 | 326 | 0.021417 | 0.27361 | 36.0451 | 0.67788 | 17.2421 | bd | bd | 0.28025 | 42.0235 | 0.21 | 1.24 | 98.0733 | 0.040468 | 0.45373 | 50.4344 | 0.91377 | 39.5086 | bd | bd | 0.28025 | -0.06801 | 1.8767 | 4.5436 | 98.0499 | 0.015779 | 0.013309 | 0.033992 | 0.032359 | 0.018267 | 0.016688 | 0.060851 | 0.053849 | 0.051063 | 0.024657 | 0.012634 | 0.029644 | 0.010484 | 31.4573 | 5.1019 | 0.31395 | 6.5979 | 0.83367 | – | – | 3.8106
Longitudinal_enamel traverse | 19 | 327 | bd | 0.28303 | 35.9618 | 0.74969 | 17.2493 | bd | bd | 0.26708 | 41.9903 | 0.21 | 1.24 | 97.9512 | bd | 0.46934 | 50.3178 | 1.0106 | 39.5251 | bd | bd | 0.26708 | -0.07124 | 1.8767 | 4.5436 | 97.9389 | 0.016113 | 0.013268 | 0.033803 | 0.035429 | 0.016637 | 0.017171 | 0.057603 | 0.057949 | 0.047377 | 0.02064 | 0.011698 | 0.030007 | 0.010265 | – | 4.8219 | 0.31424 | 6.0648 | 0.83213 | – | – | 3.9044
Longitudinal_enamel traverse | 19 | 328 | bd | 0.31619 | 35.8835 | 0.78673 | 17.2731 | bd | bd | 0.23517 | 42.0442 | 0.21 | 1.24 | 97.9889 | bd | 0.52434 | 50.2083 | 1.0605 | 39.5797 | bd | bd | 0.23517 | -0.06115 | 1.8767 | 4.5436 | 97.9672 | 0.016259 | 0.013292 | 0.033479 | 0.032668 | 0.0168 | 0.016963 | 0.055145 | 0.057592 | 0.046394 | 0.021816 | 0.012001 | 0.029624 | 0.010577 | – | 4.4989 | 0.31481 | 5.862 | 0.83282 | – | – | 4.2555
Longitudinal_enamel traverse | 19 | 329 | 0.012974 | 0.30751 | 35.8585 | 0.7719 | 16.9248 | bd | bd | 0.17187 | 41.5713 | 0.21 | 1.24 | 97.0689 | 0.024515 | 0.50994 | 50.1732 | 1.0405 | 38.7816 | bd | bd | 0.17187 | -0.04416 | 1.8767 | 4.5436 | 97.0778 | 0.016311 | 0.012748 | 0.035615 | 0.033747 | 0.017587 | 0.016662 | 0.06116 | 0.060192 | 0.051471 | 0.022455 | 0.012085 | 0.030704 | 0.011134 | 48.6091 | 4.6516 | 0.31485 | 6.0866 | 0.84148 | – | – | 5.2853
Longitudinal_enamel traverse | 19 | 330 | 0.015812 | 0.32399 | 35.4664 | 0.90143 | 16.6739 | bd | bd | 0.13535 | 41.1892 | 0.21 | 1.24 | 96.1561 | 0.029877 | 0.53727 | 49.6246 | 1.2151 | 38.2067 | bd | bd | 0.13535 | -0.03504 | 1.8767 | 4.5436 | 96.1342 | 0.016124 | 0.013286 | 0.0336 | 0.031091 | 0.017543 | 0.017844 | 0.057259 | 0.055754 | 0.0511 | 0.021076 | 0.011896 | 0.029958 | 0.011212 | 41.8025 | 4.4912 | 0.31663 | 5.5133 | 0.8477 | – | – | 6.2344
Longitudinal_enamel traverse | 19 | 331 | bd | 0.32941 | 34.8338 | 1.0824 | 16.9721 | 0.014316 | bd | 0.094248 | 41.3876 | 0.21 | 1.24 | 96.1639 | bd | 0.54626 | 48.7394 | 1.459 | 38.8899 | 0.035747 | bd | 0.094248 | -0.02582 | 1.8767 | 4.5436 | 96.1591 | 0.016483 | 0.01332 | 0.035365 | 0.031993 | 0.018245 | 0.017194 | 0.055656 | 0.057399 | 0.054551 | 0.021581 | 0.012068 | 0.028638 | 0.010961 | – | 4.5006 | 0.31966 | 4.9971 | 0.84064 | 43.3837 | – | 8.0044
Longitudinal_enamel_pt11 | 21 | 339 | bd | 0.20959 | 36.5206 | 0.63426 | 17.5155 | bd | bd | 0.43124 | 42.4031 | 0.21 | 1.24 | 99.1643 | bd | 0.34757 | 51.0997 | 0.85497 | 40.1351 | bd | bd | 0.43124 | -0.09962 | 1.8767 | 4.5436 | 99.1893 | 0.017301 | 0.013901 | 0.035207 | 0.032555 | 0.015831 | 0.015865 | 0.065598 | 0.058055 | 0.049454 | 0.021363 | 0.011517 | 0.030323 | 0.01209 | – | 5.8075 | 0.312 | 6.8252 | 0.82619 | – | – | 3.0275